Monthly Safety Audit Form	                    Department		Rev: 2/2/14

| Inspection Date:_____________ Name of employee performing the inspection:_____________________ |
| --- |
| SUPERVISOR REVIEW When this audit form has been completed, the area supervisor must review it and verify that the appropriate steps have been taken to correct any non-conformances. Are any of the findings on this audit repeat findings that were found on a prior month’s audit. [Yes] [No] List any repeat findings: ___________________________________________________________________________ Identify actions taken to resolve the findings:__________________________________________________________ SUPERVISOR Buyoff I am aware of all nonconforming items found on this audit. The following steps have been taken: Items have been corrected or were corrected at the time of the audit. A safety maintenance work order has been submitted for items that require maintenance assistance, List Work order numbers: ___________________________________________________________________ An action plan has been implemented to resolve the issues and prevent future reoccurrence. (Copy attached) Supervisor Signature: _________________________ |
| Employee Interview Employees being interviewed: __________________________ |
| FIRE EXTINGUISHER USAGE & EVACUATION Employee can locate the nearest alarm pull station? [Y] [N] Employee can locate the nearest fire extinguisher? [Y] [N] Employee knows the steps to put the extinguisher into operation? (Pull Pin, Aim, Squeeze, Spray Side to Side) [Y] [N] Employee knows NOT to fight a “Structural Fire.” [Y] [N] Evacuation Point #: HAZARD COMMUNICATION Locate a Safety Data Sheet (SDS) for one chemical that is used in the area. Chemical Name: What was the topic of the last department safety training? ____________________________________ |
| HAZARD COMMUNICATION | YES | NO | N/A |
| Are all containers, labeled with name, health, flammability and reactivity hazards? |  |  |  |
| Are all labels legible? |  |  |  |
| Comment: |  |  |  |
| EVACUATION / EMERGENCY RESPONSE |  |  |  |
| Are evacuation routes up to date and clearly posted? |  |  |  |
| Are aisle ways clear (44” for corridors and stairways, 36 inches for aisles, 32” for doors) of obstructions and tripping hazards? |  |  |  |
| Do emergency exits open out and are not chained or bolted shut? |  |  |  |
| Do main exit routes have exit signs in place? |  |  |  |
| Are emergency exit signs lit and do the batteries work? (this only applies to signs that are electric) |  |  |  |
| Do the emergency lights work? |  |  |  |
| Are emergency exits properly lighted? |  |  |  |
| Are all lights in good working order? |  |  |  |
| Is an emergency contact list posted in a conspicuous place or by each phone? |  |  |  |
| Is a first aid kit readily available? |  |  |  |
| Comment: |  |  |  |
| PERSONAL PROTECTIVE EQUIPMENT (PPE) |  |  |  |
| Are PPE requirements posted at department entrances? |  |  |  |
| Is proper PPE available in the work area? |  |  |  |
| Are 100% of employees wearing PPE according to area requirements? |  |  |  |
| Where applicable, are respirators properly stored (sealed and labeled with employee's name)? |  |  |  |
| Comment: |  |  |  |
| ERGONOMICS | YES | NO | N/A |
| Is storage below knee level and above shoulder level minimized? |  |  |  |
| Are carts, dollies, etc. available for use in transporting heavy objects and boxes? |  |  |  |
| Comment: |  |  |  |
| EYEWASH/SHOWER |  |  |  |
| Is there > 3 feet of unobstructed clearance to the eyewash? |  |  |  |
| Are safety showers, and eyewash stations clean, and caps in place? |  |  |  |
| Does the shower work? |  |  |  |
| Does the eyewash work? |  |  |  |
| Has the tag been signed in the last month? |  |  |  |
| Comment: |  |  |  |
| FIRE SAFETY |  |  |  |
| Are fire extinguishers, pull stations and signs visible? |  |  |  |
| Are fire extinguishers and pull stations accessible? (Min. 3 feet of unobstructed clearance) |  |  |  |
| Fire extinguisher (list extinguishers in area) is properly hung, charged, inspected and the tamper seal in place? |  |  |  |
| Fire extinguisher inspections tag has been signed off for the month? |  |  |  |
| Are flammable liquids and aerosols properly stored in a flammable storage cabinet? |  |  |  |
| Are oxidizing gases (O2, Cl2) separated from fuel gases by a fire wall or at least 20 feet? |  |  |  |
| Is smoking only allowed in designated areas away from buildings and combustibles? |  |  |  |
| Comment: |  |  |  |
| MACHINERY |  |  |  |
| Are all safety guards in place/not broken/properly adjusted? |  |  |  |
| Do safety interlocks / emergency stop systems work? |  |  |  |
| Is Equipment in good condition (not broken, no missing parts, cords not frayed or taped)? |  |  |  |
| Is machinery properly locked out before it is adjusted or maintained? |  |  |  |
| Are bench grinders properly adjusted and in good condition? |  |  |  |
| Comment: |  |  |  |
| GENERAL SAFETY |  |  |  |
| Excessive storage of combustible materials is prohibited in the area. |  |  |  |
| Are hand operated air nozzles equipped with blow-by tips or regulated to 30 PSI? |  |  |  |
| Are tools in safe working condition? |  |  |  |
| Are sharps/ razor blades disposed of in puncture proof sharps containers? |  |  |  |
| Comment: |  |  |  |
| ELECTRICAL |  |  |  |
| Are extension cords utilized for temporary use only? |  |  |  |
| Are electrical panels clear of obstructions (Min. 36 inches feet of unobstructed clearance |  |  |  |
| Is all electrical equipment free of any exposed electrical wiring? |  |  |  |
| Cover plates are in place/secure/not broken (No open electrical)? |  |  |  |
| Comment: |  |  |  |
| HOUSEKEEPING |  |  |  |
| Is the area clean of debris? (Trash, chemicals or lubricants, excessive equipment, etc.) |  |  |  |
| Are walking surfaces (floors/platforms) level and free of liquids and tripping hazards? |  |  |  |
| Are all lights in good working order? |  |  |  |
| Are materials, tools and papers organized and properly stored when not in use? |  |  |  |
| Are food and beverages restricted from work areas? |  |  |  |
| Is there > 3 feet of clearance away from boilers, heaters & water heaters? |  |  |  |
| Comment: |  |  |  |